Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

237 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 19-19 H: 0-100 N: 0-10 O: 0-10 Na: 0-1

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

340.1194 340.1185 0.9 2.6 11.5 77.5 0.0 C19 H18 N O5