Sensorgrams (upper charts) and steady-state fit (lower charts) obtained for each replicate of peptide 14 / PhdSTm52-73 L67A (analyte) binding to DocSTm (ligand). Six concentrations of the analyte were flown in multiple individual cycles, ranging from 500 nM to 2.06 nM (3-fold dilutions). The association and dissociation times were, respectively, 100 s and 300 s. For replicate 3 the association and dissociation times were, respectively, 80 s and 200 s

Summary of the fitted parameters obtained from each SPR measurement of peptide 14.

| Replicate | KD (nM) | RMAX (RU) | Offset (RU) | Chi2 (RU2) |
| --- | --- | --- | --- | --- |
| 1 | 24.96 ± 0.50 | 26.8 ± 0.1 | 2.10 ± 0.11 | 0.009 |
| 2 | 23.93 ± 0.94 | 24.5 ± 0.2 | 2.10 ± 0.20 | 0.028 |
| 3 | 15.4 ± 2.13 | 15.8 ± 0.5 | 0.90 ± 0.54 | 0.131 |