Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

241 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 13-13    H: 0-100    N: 0-10    O: 0-10    107Ag: 0-2    109Ag: 0-2

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	i-FIT (Norm) 	Formula

251.1406   	251.1396       	1.0      	4.0      	5.5      	143.0      	0.0          	C13  H19  N2  O3